## 5천이상
2020년 검사재료 입찰내역서(5천만원 이상 3.1억원 미만)
번호 | 군산 연번 | 그룹 | 품명 | 규격 | 단위 | 제조회사 | 사용 예정량 | 군산 | 남원 | 보험코드 | 비고
1 | 92 | 2 | URINE CHEMISTRY 1 LIQ | 12*10 | kit | Bio Rad | 1 | 1
2 | 93 | 2 | URINE CHEMISTRY 2 LIQ | 12*10 | kit | Bio Rad | 1 | 1
3 | 150 | 2 | Urine tube | 200pcs | ea | 메드랜드.국산 | 160 | 160
4 | 166 | 2 | 채변통 (검정색/흰색) | 1000s | box | 매디랜드.국산 | 8 | 8
5 | 167 | 2 | Sputum 통(흰색) | 8*2.5(500ea) | box | 매디랜드,국산 | 7 | 7
6 | 172 | 2 | Cap tube(16*125) | 100ea | box | 국산 | 4 | 4
7 | 181 | 2 | Lanze paper |  | 갑 | 국산 | 1 | 1
8 | 183 | 2 | Slide box(100slides) | ea | ea | 국산 | 2 | 2
9 | 184 | 2 | Slide tray | 1X20 | ea | 국산 | 10 | 10
10 | 185 | 2 | Tube rack | 5부 100홀 | ea | 국산 | 10 | 10
11 | 187 | 2 | Arterial blood syringe | 100*1(3ml) | 갑 | BD | 60 | 60
12 | 237 | 2 | standard F influenza A/B FIA | 25t | EA | SD biosensor | 100 | 100
13 | 246 | 2 | DxH Diluent | 10L | ea | BECKMAN COOLTER | 168 | 168
14 | 247 | 2 | DxH Cell Lyse | 5L | ea | BECKMAN COOLTER | 8 | 8
15 | 248 | 2 | DxH Diff Pak | 2L | ea | BECKMAN COOLTER | 12 | 12
16 | 249 | 2 | DxH Retic Pak | 2L | ea | BECKMAN COOLTER | 5 | 5
17 | 250 | 2 | 6C Cell Control | 9*3.5ml | kit | BECKMAN COOLTER | 10 | 10
18 | 251 | 2 | DxH Cleaner | 10L | ea | BECKMAN COOLTER | 12 | 12
19 | 252 | 2 | Latron CP-X Control | 8*4ml | kit | BECKMAN COOLTER | 10 | 10
20 | 253 | 2 | Retic-X Cell Control | 9*3.5ml | kit | BECKMAN COOLTER | 3 | 3
21 | 254 | 2 | DxH S-Cal Calibrator | 4ml | kit | BECKMAN COOLTER | 2 | 2
2그룹 |  |  | 합 계